## Sheet1
Measurement day 1
2020-11-30

Pulser test
Output voltages (mV, measured with oscilloscope)
50,7
52,7
51,3
50,7
51,3

Voltage setting (mV)
0,305

Rise time (ns)
456
457
450
452
456

Traces 0-5 are without rise and fall times, and traces 6-10 are with

Without 10x attenuation
Output voltages (mV, measured with oscilloscope)
500
507
493
500
493
Traces 11-15
These were with 1 MOhm termination, so let’s do new measurements to fix things

With 10x attenuation
Output voltages (mV, measured with oscilloscope)
49,3
50
51,3
49,3
50,7

Voltage setting (mV)		Traces 16-20
0,305

Rise time (ns)
~ 600

Fall time (µs)
~ 200

Without 10x attenuation
Output voltages (mV, measured with oscilloscope)
480
487		Traces 21-25
480
487
480

We then tried connecting the system through the gain module, but the output voltage was too high with the 10x attenuation

With lower output voltage
With 10x attenuation
Output voltages (mV, measured with oscilloscope)
24,7
24,3
24,7
23,7
26,3

Rise time (ns)
460
425
430
415
444

Fall time (µs)
190
200
177
202
154

Voltage setting (mV)
0,275

Traces 26-30

Without 10x attenuation
Output voltages (mV, measured with oscilloscope)
223		226
227
230
220
230

Rise time (ns)
453
455
448
453
450

Fall time (µs)
157
154
189
129
160

Traces 31-35

With gain system
Fine gain	10,0
Coarse gain	10

Measurement 1
Traces 35-40
Cal_10_226.mca
The pulser voltage before gain was not tested with the oscilloscope, so this measurement should not be used

Centroid	192,24
FWHM	2,2004
Net area	378
Uncertainty	5,14
Net rate	9,45
Gross area	378

Measurement 2
Moved oscilloscope to the pulser output instead of the gain output

Output voltages (mV, measured with oscilloscope)
18,7		18,7
18,3
20,2
18
18,3

Traces 41-45
Cal_10_18.7.mca

Centroid	117,42
FWHM	2,0178
Net area	473
Uncertainty	4,6
Net rate	9,46
Gross area	473

Measurement 3
Changed oscilloscope cable
Adjusted oscilloscope settings
Adjusted pulser settings (higher frequency etc.)

Traces 46-50
Tables 15-20

Measurement 4
Adjusted oscilloscope settings
Traces 51-55
TableSet2 0-5
Voltage setting (mV)	0,067
File	Cal10_1.8

Output voltages (mV, measured with oscilloscope)
1,83
1,82
1,87
1,79
1,8

Centroid	55,34
FWHM	1,8899
Net area	8957
Uncertainty	1,06
Net rate	91,45
Gross area	8957

Measurement 5
Voltage setting (mV)	0
Traces	56-60
Tables	TableSet3 0-5
File name	Cal10_5
Output V (oscilloscope)	3
Output V (eye)	5

Centroid	37,24
FWHM	1,7538
Net area	6125
Uncertainty	1,28
Net rate	91,42
Gross area	6125

Measurement 6
Voltage setting (mV)	0,127
Traces	61-65
Tables	TableSet4 0-5
File name	Cal10_10
Output V (oscilloscope)	6
Output V (eye)	10

Centroid	72,83
FWHM	1,7118
Net area	5850
Uncertainty	1,31
Net rate	91,48
Gross area	5850

Measurement 7
Voltage setting (mV)	0,285
Traces	65-70
Tables	TableSet5 0-5
File name	Cal10_17
Output V (oscilloscope)	9
Output V (eye)	17

Centroid	120,21
FWHM	1,6236
Net area	7490
Uncertainty	1,16
Net rate	91,47
Gross area	7490

Measurement 8
Voltage setting (mV)	0,69
Traces	70-75
Tables	TableSet6 0-5
File name	Cal_10_34
Output V (oscilloscope)	18
Output V (eye)	34

Centroid	239,1
FWHM	1,4524
Net area	6393
Uncertainty	1,25
Net rate	91,46
Gross area	6393

Measurement 8
Voltage setting (mV)	1,07
Traces	76-80
Tables	TableSet7 0-5
File name	Cal_10_51
Output V (oscilloscope)	41
Output V (eye)	51

Centroid	350,79
FWHM	1,7297
Net area	6762
Uncertainty	1,22
Net rate	91,52
Gross area	6762

Measurement 9
Voltage setting (mV)	1,49
Traces	81-85
Tables	TableSet8, 0-5
File name	Cal_10_68
Output V (oscilloscope)	55
Output V (eye)	68

Centroid	475,37
FWHM	1,9231
Net area	7035
Uncertainty	1,19
Net rate	91,53
Gross area	7035

Measurement 9
Voltage setting (mV)	1,895
Traces	86-90
Tables	TableSet9 0-6
File name	Cal_10_85
Output V (oscilloscope)	69
Output V (eye)	85

Centroid	578,24
FWHM	1,6876
Net area	7389
Uncertainty	1,16
Net rate	91,38
Gross area	7396

Measurement 10
Voltage setting (mV)	2,27
Traces	91-95
Tables	TableSet10 0-5
File name	Cal_10_102
Output V (oscilloscope)	83
Output V (eye)	102

Centroid	707,09
FWHM	1,5145
Net area	6484
Uncertainty	1,24
Net rate	91,5
Gross area	6484

Measurement 11
Voltage setting (mV)	2,695
Traces	96-100
Tables	TableSet11 0-6
File name	Cal_10_121
Output V (oscilloscope)	97
Output V (eye)	121

Centroid	831,75
FWHM	1,7009
Net area	6576
Uncertainty	1,23
Net rate	91,46
Gross area	6578

Measurement 11
Voltage setting (mV)	3,24
Traces	100-105
Tables	TableSet12 0-6
File name	Cal_10_136
Output V (oscilloscope)	108
Output V (eye)	136

Centroid	928,75
FWHM	1,7355
Net area	7308
Uncertainty	1,17
Net rate	91,51
Gross area	7308

Measurement 11
Voltage setting (mV)	3,27
Traces	106-110
Tables	TableSet12 0-6
File name	Cal_10_145
Output V (oscilloscope)	117
Output V (eye)	145

Centroid	1003,97
FWHM	1,4466
Net area	8404
Uncertainty	1,09
Net rate	91,51
Gross area	8404

Detector measurement
Primary peak channel	100
Secondary peack channel	50

Primary peak (preliminary data)
Centroid	99,35
FWHM	16,78		0,168897835933568
Net area	39,377
Uncertainty	0,51
Net rate	77,46
Gross area	41,9

Secondary peak (preliminary data)
Centroid	51,36					Plot the energy resolution (Delta E/E) as a function of the voltage					Spectral correction is a good idea
FWHM	11,5052					It may be an upwards opening parabola or a line
Net area	2,273					Discuss the meaning!
Uncertainty	2,6					Try to do this before tomorrow
Net rate	4,04
Gross area	2989

High voltage scan for Fe

Fine gain is 10 as previously, so the actual gain is x10

Gain	100	100	100	100	100	100	40	40	40	40	40	40	20	20	20	10	10	10	10	4	4	4	2	2	2
Voltage (V)	1602	1649	1700	1752	1802	1803	1803	1853	1903	1853	1903	1950	1903	1950	2000	2000	2050	2052	2100	2100	2152	2200	2200	2251	2301
Centroid	228,54	312,24	447,09	643,2	900,32	901,72	374,08	536,29	778,57	525,92	774,54		376,4	538,59	772,93	387,31	571,31	576,33	838,95	343,81	509,25	733,87	357,18	534,51	784,91
FWHM	37,0818	40,8628	54,7084	89,2024	42,9025	63,5445	61,292	12,8333	14,8857	51,6655	90,7254		56,9931	80,8507	96,5059	60,3485	57,6187	68,8621	53,8678	55,6136	76,55	74,7608	56,6165	70,174	91,6415
Net area	9215	8792	8753	9341	6687	5924	9063	4324	4059	8963	8400		8956	9119	8541	9234	9106	8761	7968	8879	9292	9382	9006	9285	8818
Uncertainty	1,05	1,12	1,13	1,03	1,47	1,78	1,09	1,6	1,79	1,1	1,19		1,11	1,06	1,18	1,06	1,06	1,13	1,27	1,11	1,04	1,03	1,08	1,04	1,12
Net rate	76,79	73,26	72,94	77,84	57,23	49,37	75,53	72,07	67,65	74,69	70		74,63	75,99	71,17	76,95	75,88	73,01	66,4	73,99	77,43	78,18	75,05	77,38	73,48
Gross area	9281	9285	9283	9341	8529	8514	9433	4544	4671	9323	9215		9403	9253	9391	9430	9239	9271	9098	9294	9292	9382	9267	9285	9313
					FAIL			FAIL	FAIL			FAIL					FAIL
					Switched to 60 s measurement time to speed up the data acquisition				Too close to the edge to measure					Forgot to save the file
					This did not work

High voltage scan for Am
Gain	100	100	100	100	100	100	100	40	40	40	40	20	20	20	10	10	10	4	4	4	2	2	2	2
Voltage (V)	1152	1203	1253	1301	1350	1404	1453	1453	1502	1550	1602	1602	1651	1701	1701	1751	1802	1802	1854	1900	1900	1951	2001	2051
Centroid	151,99	198,62	258,55	337	448,72	623,09	845,87	344,97	467,42	643,68	905,54	439,77	620,46	870,95	433,79	612,59	889,48	362,09	522,12	734,32	359,32	527,55	751,21
FWHM	13,3985	14,6856	17,3017	20,6042	19,627	27,0981	25,3015	22,6091	22,2814	25,285	30,5512	24,4238	32,7889	52,4629	24,037	35,4427	36,5949	24,9243	37,4306	27,6635	28,6004	39,0597	50,033
Net area	3,853	3,836	4,024	4194	3540	3504	4075	4001	4066	3081	3093	4132	3519	4042	3933	3814	3602	3713	3674	3655	3234	3229	3920
Uncertainty	1,89	2,92	1,78	1,69	2,01	1,95	1,65	1,76	1,73	2,24	2,34	1,68	1,89	1,66	1,77	1,83	1,96	1,93	1,93	2,01	2,28	2,23	1,71
Net rate	32,11	42,97	33,53	34,95	29,5	29,2	33,96	33,34	33,88	25,68	23,77	34,43	29,32	33,68	32,77	31,78	30,02	30,94	30,61	39,46	26,95	26,9	32,67
Gross area	3,591	4,613	4,584	4596	4290	4080	4291	4473	4511	3931	4172	4475	3964	4282	4378	4334	4302	4424	4356	3524	4327	4205	4214
				1					FAIL
					Peak was outside the range

Measurement day 2
2020-12-01

Am measurement
Voltage (V)	1811
Measurement time (min)	30